## Bus data
IEEE-39 Bus Data
Bus Number | Bus Name | Base KV | Code
1 | BUS1 | 345 | 1 | 'Bus1' | 345
2 | BUS2 | 345 | 1 | 'Bus2' | 345
3 | BUS3 | 345 | 1 | 'Bus3' | 345
4 | BUS4 | 345 | 1 | 'Bus4' | 345
5 | BUS5 | 345 | 1 | 'Bus5' | 345
6 | BUS6 | 345 | 1 | 'Bus6' | 345
7 | BUS7 | 345 | 1 | 'Bus7' | 345
8 | BUS8 | 345 | 1 | 'Bus8' | 345
9 | BUS9 | 345 | 1 | 'Bus9' | 345
10 | BUS10 | 345 | 1 | 'Bus10' | 345
11 | BUS11 | 345 | 1 | 'Bus11' | 345
12 | BUS12 | 345 | 1 | 'Bus12' | 345
13 | BUS13 | 345 | 1 | 'Bus13' | 345
14 | BUS14 | 345 | 1 | 'Bus14' | 345
15 | BUS15 | 345 | 1 | 'Bus15' | 345
16 | BUS16 | 345 | 1 | Bus16' | 345
17 | BUS17 | 345 | 1 | 'Bus17' | 345
18 | BUS18 | 345 | 1 | 'Bus18' | 345
19 | BUS19 | 345 | 1 | 'Bus19' | 345
20 | BUS20 | 345 | 1 | 'Bus20' | 345
21 | BUS21 | 345 | 1 | 'Bus21' | 345
22 | BUS22 | 345 | 1 | 'Bus22' | 345
23 | BUS23 | 345 | 1 | 'Bus23' | 345
24 | BUS24 | 345 | 1 | 'Bus24' | 345
25 | BUS25 | 345 | 1 | 'Bus25' | 345
26 | BUS26 | 345 | 1 | 'Bus26_2' | 345
27 | BUS27 | 345 | 1 | 'Bus27' | 345
28 | BUS28 | 345 | 1 | 'Bus28' | 345
29 | BUS29 | 345 | 1 | 'Bus29' | 345
30 | BUS30 | 22 | 2 | 'Bus30' | 22
31 | BUS31 | 22 | 3 | 'Bus31' | 22
32 | BUS32 | 22 | 2 | 'Bus32' | 22
33 | BUS33 | 22 | 2 | 'Bus33' | 22
34 | BUS34 | 22 | 2 | 'Bus34' | 22
35 | BUS35 | 22 | 2 | 'Bus35' | 22
36 | BUS36 | 22 | 2 | 'Bus36' | 22
37 | BUS37 | 22 | 2 | 'Bus37' | 22
38 | BUS38 | 22 | 2 | 'Bus38' | 22
39 | BUS39 | 345 | 2 | 'Bus39' | 345

## power_flow_data
Bus | V | Angle_deg | BusTotal_P | BusTotal_Q | Load_P | Load_Q | Gen_P | Gen_Q | UnitNo
1 | 1.0474 | -8.44 | 0 | 0 | 0 | 0 | 0 | 0
2 | 1.0487 | -5.75 | 0 | 0 | 0 | 0 | 0 | 0
3 | 1.0302 | -8.6 | -322 | -2.4 | -322 | -2.4 | 0 | 0
4 | 1.0039 | -9.61 | -500 | -184 | -500 | -184 | 0 | 0
5 | 1.0053 | -8.61 | 0 | 0 | 0 | 0 | 0 | 0
6 | 1.0077 | -7.95 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0.997 | -10.12 | -233.8 | -84 | -233.8 | -84 | 0 | 0
8 | 0.996 | -10.62 | -522 | -176 | -522 | -176 | 0 | 0
9 | 1.0282 | -10.32 | 0 | 0 | 0 | 0 | 0 | 0
10 | 1.0172 | -5.43 | 0 | 0 | 0 | 0 | 0 | 0
11 | 1.0127 | -6.28 | 0 | 0 | 0 | 0 | 0 | 0
12 | 1.0002 | -6.24 | -7.5 | -88 | -7.5 | -88 | 0 | 0
13 | 1.0143 | -6.1 | 0 | 0 | 0 | 0 | 0 | 0
14 | 1.0117 | -7.66 | 0 | 0 | 0 | 0 | 0 | 0
15 | 1.0154 | -7.74 | -320 | -153 | -320 | -153 | 0 | 0
16 | 1.0318 | -6.19 | -329 | -32.3 | -329 | -32.3 | 0 | 0
17 | 1.0336 | -7.3 | 0 | 0 | 0 | 0 | 0 | 0
18 | 1.0309 | -8.22 | -158 | -30 | -158 | -30 | 0 | 0
19 | 1.0499 | -1.02 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0.9912 | -2.01 | -628 | -103 | -628 | -103 | 0 | 0
21 | 1.0318 | -3.78 | -274 | -115 | -274 | -115 | 0 | 0
22 | 1.0498 | 0.67 | 0 | 0 | 0 | 0 | 0 | 0
23 | 1.0448 | 0.47 | -247.5 | -84.6 | -247.5 | -84.6 | 0 | 0
24 | 1.0373 | -6.07 | -308.6 | 92.2 | -308.6 | 92.2 | 0 | 0
25 | 1.0576 | -4.36 | -224 | -47.2 | -224 | -47.2 | 0 | 0
26 | 1.0521 | -5.53 | -139 | -17 | -139 | -17 | 0 | 0
27 | 1.0377 | -7.5 | -281 | -75.5 | -281 | -75.5 | 0 | 0
28 | 1.0501 | -2.01 | -206 | -27.6 | -206 | -27.6 | 0 | 0
29 | 1.0499 | 0.74 | -283.5 | -26.9 | -283.5 | -26.9 | 0 | 0
30 | 1.0475 | -3.33 | 250 | 146.16 | 0 | 0 | 250 | 146.16 | 10
31 | 0.982 | 0 | 511.61 | 193.65 | -9.2 | -4.6 | 520.81 | 198.25 | 2
32 | 0.9831 | 2.57 | 650 | 205.14 | 0 | 0 | 650 | 205.14 | 3
33 | 0.9972 | 4.19 | 632 | 109.91 | 0 | 0 | 632 | 109.91 | 4
34 | 1.0123 | 3.17 | 508 | 165.76 | 0 | 0 | 508 | 165.76 | 5
35 | 1.0493 | 5.63 | 650 | 212.41 | 0 | 0 | 650 | 212.41 | 6
36 | 1.0635 | 8.32 | 560 | 101.17 | 0 | 0 | 560 | 101.17 | 7
37 | 1.0278 | 2.42 | 540 | 0.44 | 0 | 0 | 540 | 0.44 | 8
38 | 1.0265 | 7.81 | 830 | 22.84 | 0 | 0 | 830 | 22.84 | 9
39 | 1.03 | -10.05 | -104 | -161.7 | -1104 | -250 | 1000 | 88.28 | 1

## Generator Data
Generator | Bus Number | H | Bus Name | Voltage(p.u.) | Id | PGen(MW) | PMax(MW) | PMin(MW) | QGen(Mvar | QMax(Mvar) | Qmin(Mvar) | Mbase(MVA) | X Source(pu)
1 | 39 | 500 | BUS39 | 1.03 | 1 | 1000 |  |  | - |  |  |  | 0.02
2 | 31 | 30.3 | BUS31 | 0.982 | 1 | - |  |  | - |  |  |  | 0.295
3 | 32 | 35.8 | BUS32 | 0.9831 | 1 | 650 |  |  | - |  |  |  | 0.2495
4 | 33 | 28.6 | BUS33 | 0.9972 | 1 | 632 |  |  | - |  |  |  | 0.262
5 | 34 | 26 | BUS34 | 1.0123 | 1 | 508 |  |  | - |  |  |  | 0.67
6 | 35 | 34.8 | BUS35 | 1.0493 | 1 | 650 |  |  | - |  |  |  | 0.254
7 | 36 | 26.4 | BUS36 | 1.0635 | 1 | 560 |  |  | - |  |  |  | 0.295
8 | 37 | 24.3 | BUS37 | 1.0278 | 1 | 540 |  |  | - |  |  |  | 0.29
9 | 38 | 34.5 | BUS38 | 1.0265 | 1 | 830 |  |  | - |  |  |  | 0.2106
10 | 30 | 42 | BUS30 | 1.0475 | 1 | 250 |  |  | - |  |  |  | 0.1

## psse DATA 39 BUS
Bus Data
Bus Number | Section Number | Substation Number | Bus Name | Base kV | Area Num | Area Name | Zone Num | Zone Name | Owner Num | Owner Name | Code | Voltage (pu) | Angle (deg) | Normal Vmax (pu) | Normal Vmin (pu) | Emergency Vmax (pu) | Emergency Vmin (pu)
1 |  |  | BUS1 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0518 | -6.99 | 1.1 | 0.9 | 1.1 | 0.9
2 |  |  | BUS2 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0599 | -4.54 | 1.1 | 0.9 | 1.1 | 0.9
3 |  |  | BUS3 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0565 | -7.36 | 1.1 | 0.9 | 1.1 | 0.9
4 |  |  | BUS4 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0592 | -8.19 | 1.1 | 0.9 | 1.1 | 0.9
5 |  |  | BUS5 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0736 | -7.18 | 1.1 | 0.9 | 1.1 | 0.9
6 |  |  | BUS6 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0743 | -6.56 | 1.1 | 0.9 | 1.1 | 0.9
7 |  |  | BUS7 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0612 | -8.49 | 1.1 | 0.9 | 1.1 | 0.9
8 |  |  | BUS8 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0586 | -8.93 | 1.1 | 0.9 | 1.1 | 0.9
9 |  |  | BUS9 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.054 | -8.69 | 1.1 | 0.9 | 1.1 | 0.9
10 |  |  | BUS10 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0611 | -4.28 | 1.1 | 0.9 | 1.1 | 0.9
11 |  |  | BUS11 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0643 | -5.07 | 1.1 | 0.9 | 1.1 | 0.9
12 |  |  | BUS12 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0493 | -5.05 | 1.1 | 0.9 | 1.1 | 0.9
13 |  |  | BUS13 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0587 | -4.93 | 1.1 | 0.9 | 1.1 | 0.9
14 |  |  | BUS14 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0561 | -6.45 | 1.1 | 0.9 | 1.1 | 0.9
15 |  |  | BUS15 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0409 | -6.72 | 1.1 | 0.9 | 1.1 | 0.9
16 |  |  | BUS16 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0485 | -5.32 | 1.1 | 0.9 | 1.1 | 0.9
17 |  |  | BUS17 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0517 | -6.28 | 1.1 | 0.9 | 1.1 | 0.9
18 |  |  | BUS18 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0523 | -7.11 | 1.1 | 0.9 | 1.1 | 0.9
19 |  |  | BUS19 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.056 | -0.75 | 1.1 | 0.9 | 1.1 | 0.9
20 |  |  | BUS20 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.9942 | -2.14 | 1.1 | 0.9 | 1.1 | 0.9
21 |  |  | BUS21 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0436 | -2.96 | 1.1 | 0.9 | 1.1 | 0.9
22 |  |  | BUS22 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0561 | 1.43 | 1.1 | 0.9 | 1.1 | 0.9
23 |  |  | BUS23 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0513 | 1.23 | 1.1 | 0.9 | 1.1 | 0.9
24 |  |  | BUS24 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0526 | -5.2 | 1.1 | 0.9 | 1.1 | 0.9
25 |  |  | BUS25 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0658 | -3.11 | 1.1 | 0.9 | 1.1 | 0.9
26 |  |  | BUS26 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0623 | -4.39 | 1.1 | 0.9 | 1.1 | 0.9
27 |  |  | BUS27 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0517 | -6.38 | 1.1 | 0.9 | 1.1 | 0.9
28 |  |  | BUS28 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0554 | -0.9 | 1.1 | 0.9 | 1.1 | 0.9
29 |  |  | BUS29 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0536 | 1.84 | 1.1 | 0.9 | 1.1 | 0.9
30 |  |  | BUS30 | 22 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1.0475 | -2.15 | 1.1 | 0.9 | 1.1 | 0.9
31 |  |  | BUS31 | 22 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 0.982 | 0 | 1.1 | 0.9 | 1.1 | 0.9
32 |  |  | BUS32 | 22 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 0.9831 | 3.38 | 1.1 | 0.9 | 1.1 | 0.9
33 |  |  | BUS33 | 22 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 0.9972 | 4.46 | 1.1 | 0.9 | 1.1 | 0.9
34 |  |  | BUS34 | 22 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1.0123 | 3.05 | 1.1 | 0.9 | 1.1 | 0.9
35 |  |  | BUS35 | 22 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1.0493 | 6.36 | 1.1 | 0.9 | 1.1 | 0.9
36 |  |  | BUS36 | 22 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1.0635 | 9.04 | 1.1 | 0.9 | 1.1 | 0.9
37 |  |  | BUS37 | 22 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1.0278 | 3.64 | 1.1 | 0.9 | 1.1 | 0.9
38 |  |  | BUS38 | 22 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1.0265 | 8.89 | 1.1 | 0.9 | 1.1 | 0.9
39 |  |  | BUS39 | 345 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1.03 | -8.48 | 1.1 | 0.9 | 1.1 | 0.9
Plant Data
Bus Number | Bus Name | Area Num | Area Name | Code | PGen (MW) | QGen (Mvar) | QMax (Mvar) | QMin (Mvar) | VSched (pu) | Regulated Bus Number | Regulated Bus Name | Regulated Node Number | Regulated Bus Section | Voltage (pu) | RMPCT
30 | BUS30 22.000 | 1 | 1 | 2 | 250 | 83.2 | 800 | -500 | 1.0475 | 30 | BUS30 22.000 | 0 | 30 | 1.0475 | 100
31 | BUS31 22.000 | 1 | 1 | 2 | 571.3 | 363.9 | 800 | -500 | 0.982 | 31 | BUS31 22.000 | 0 | 31 | 0.982 | 100
32 | BUS32 22.000 | 1 | 1 | 2 | 650 | 1.5 | 800 | -500 | 0.9831 | 32 | BUS32 22.000 | 0 | 32 | 0.9831 | 100
33 | BUS33 22.000 | 1 | 1 | 2 | 632 | 69.7 | 800 | -500 | 0.9972 | 33 | BUS33 22.000 | 0 | 33 | 0.9972 | 100
34 | BUS34 22.000 | 1 | 1 | 2 | 508 | 148.8 | 800 | -300 | 1.0123 | 34 | BUS34 22.000 | 0 | 34 | 1.0123 | 100
35 | BUS35 22.000 | 1 | 1 | 2 | 650 | 167 | 800 | -500 | 1.0493 | 35 | BUS35 22.000 | 0 | 35 | 1.0493 | 100
36 | BUS36 22.000 | 1 | 1 | 2 | 560 | 75.4 | 800 | -500 | 1.0635 | 36 | BUS36 22.000 | 0 | 36 | 1.0635 | 100
37 | BUS37 22.000 | 1 | 1 | 2 | 540 | -35.4 | 800 | -500 | 1.0278 | 37 | BUS37 22.000 | 0 | 37 | 1.0278 | 100
38 | BUS38 22.000 | 1 | 1 | 2 | 830 | -0.5 | 800 | -500 | 1.0265 | 38 | BUS38 22.000 | 0 | 38 | 1.0265 | 100
39 | BUS39 345.00 | 1 | 1 | 2 | 1000 | -36.5 | 1500 | -1000 | 1.03 | 39 | BUS39 345.00 | 0 | 39 | 1.03 | 100
Generator Data/Machine Data
Bus Number | Bus Name | Id | Name | Term Node Num | Term Node Name | Area Num | Area Name | Zone Num | Zone Name | Code | VSched (pu) | Regulated Bus Number | In Service | PGen (MW) | PMax (MW) | PMin (MW) | QGen (Mvar) | QMax (Mvar) | QMin (Mvar) | Mbase (MVA) | R Source (pu) | X Source (pu) | RTran (pu) | XTran (pu) | Gentap (pu) | Owner 1 | Fraction 1 | Owner 2 | Fraction 2 | Owner 3 | Fraction 3 | Owner 4 | Fraction 4 | R (pu) | Subtransient X (pu) | Transient X (pu) | Synchronous X (pu) | R-Negative (pu) | X-Negative (pu) | R-Zero (pu) | X-Zero (pu) | Grounding Z units | Grounding R | Grounding X | Reference Angle (deg) | Base Loaded | Machine Control Mode | Renewable Machine Power factor | Voltage Droop
30 | BUS30 22.000 | 1 |  |  |  | 1 | 1 | 1 | 1 | 2 | 1.0475 | 30 | 1 | 250 | 9999.9 | 0 | 83.2079 | 800 | -500 | 100 | 0 | 0.02 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [8 empty] | P.U. (Per Unit) |  |  |  | Normal | Conventional Machine | 1 | None
31 | BUS31 22.000 | 1 |  |  |  | 1 | 1 | 1 | 1 | 2 | 0.982 | 31 | 1 | 571.2819 | 9999.9 | 0 | 363.9453 | 800 | -500 | 100 | 0 | 0.295 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [8 empty] | P.U. (Per Unit) |  |  |  | Normal | Conventional Machine | 1 | None
32 | BUS32 22.000 | 1 |  |  |  | 1 | 1 | 1 | 1 | 2 | 0.9831 | 32 | 1 | 650 | 9999.9 | 0 | 1.5274 | 800 | -500 | 100 | 0 | 0.2495 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [8 empty] | P.U. (Per Unit) |  |  |  | Normal | Conventional Machine | 1 | None
33 | BUS33 22.000 | 1 |  |  |  | 1 | 1 | 1 | 1 | 2 | 0.9972 | 33 | 1 | 632 | 9999.9 | 0 | 69.664 | 800 | -500 | 100 | 0 | 0.262 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [8 empty] | P.U. (Per Unit) |  |  |  | Normal | Conventional Machine | 1 | None
34 | BUS34 22.000 | 1 |  |  |  | 1 | 1 | 1 | 1 | 2 | 1.0123 | 34 | 1 | 508 | 9999.9 | 0 | 148.789 | 800 | -300 | 100 | 0 | 0.67 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [8 empty] | P.U. (Per Unit) |  |  |  | Normal | Conventional Machine | 1 | None
35 | BUS35 22.000 | 1 |  |  |  | 1 | 1 | 1 | 1 | 2 | 1.0493 | 35 | 1 | 650 | 9999.9 | 0 | 167.0415 | 800 | -500 | 100 | 0 | 0.254 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [8 empty] | P.U. (Per Unit) |  |  |  | Normal | Conventional Machine | 1 | None
36 | BUS36 22.000 | 1 |  |  |  | 1 | 1 | 1 | 1 | 2 | 1.0635 | 36 | 1 | 560 | 9999.9 | 0 | 75.4463 | 800 | -500 | 100 | 0 | 0.295 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [8 empty] | P.U. (Per Unit) |  |  |  | Normal | Conventional Machine | 1 | None
37 | BUS37 22.000 | 1 |  |  |  | 1 | 1 | 1 | 1 | 2 | 1.0278 | 37 | 1 | 540 | 9999.9 | 0 | -35.3504 | 800 | -500 | 100 | 0 | 0.29 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [8 empty] | P.U. (Per Unit) |  |  |  | Normal | Conventional Machine | 1 | None
38 | BUS38 22.000 | 1 |  |  |  | 1 | 1 | 1 | 1 | 2 | 1.0265 | 38 | 1 | 830 | 9999.9 | 0 | -0.476 | 800 | -500 | 100 | 0 | 0.2106 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [8 empty] | P.U. (Per Unit) |  |  |  | Normal | Conventional Machine | 1 | None
39 | BUS39 345.00 | 1 |  |  |  | 1 | 1 | 1 | 1 | 2 | 1.03 | 39 | 1 | 1000 | 9999.9 | 0 | -36.492 | 1500 | -1000 | 100 | 0 | 0.1 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [8 empty] | P.U. (Per Unit) |  |  |  | Normal | Conventional Machine | 1 | None
[13 empty] | 1 | [28 empty] | P.U. (Per Unit) |  |  |  | Normal | Conventional Machine |  | None
Load Data
Bus Number | Bus Name | Id | Name | Term Node Num | Term Node Name | Code | Area Num | Area Name | Zone Num | Zone Name | Owner Num | Owner Name | In Service | Scalable | Interruptible | Pload (MW) | Qload (Mvar) | IPload (MW) | IQload (Mvar) | YPload (MW) | YQload (Mvar) | Distributed Gen (MW) | Distributed Gen (Mvar) | Distributed Gen Mode | Grounding flag | PNeg (MW) | QNeg (Mvar) | PZero (MW) | QZero (Mvar) | Load Type
3 | BUS3 345.00 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 304.7661 | 0 | 0 | -2.15 | 0 | 0 | Off | 0
4 | BUS4 345.00 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 472.0602 | 0 | 0 | -164.0108 | 0 | 0 | Off | 0
7 | BUS7 345.00 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 220.3258 | 0 | 0 | -74.5969 | 0 | 0 | Off | 0
8 | BUS8 345.00 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 493.1107 | 0 | 0 | -157.0582 | 0 | 0 | Off | 0
12 | BUS12 345.00 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 7.1473 | 0 | 0 | -79.9183 | 0 | 0 | Off | 0
15 | BUS15 345.00 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 307.4281 | 0 | 0 | -141.2143 | 0 | 0 | Off | 0
16 | BUS16 345.00 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 314.1537 | 0 | 0 | -29.3792 | 0 | 0 | Off | 0
18 | BUS18 345.00 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 150.1433 | 0 | 0 | -27.0906 | 0 | 0 | Off | 0
20 | BUS20 345.00 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 683.951 | 0 | 0 | -104.2004 | 0 | 0 | Off | 0
21 | BUS21 345.00 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 262.5645 | 0 | 0 | -105.6012 | 0 | 0 | Off | 0
23 | BUS23 345.00 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 235.4174 | 0 | 0 | -76.5415 | 0 | 0 | Off | 0
24 | BUS24 345.00 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 293.183 | 0 | 0 | 83.2179 | 0 | 0 | Off | 0
25 | BUS25 345.00 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 210.1676 | 0 | 0 | -41.5506 | 0 | 0 | Off | 0
26 | BUS26 345.00 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 130.8489 | 0 | 0 | -15.0647 | 0 | 0 | Off | 0
27 | BUS27 345.00 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 267.1779 | 0 | 0 | -68.2552 | 0 | 0 | Off | 0
28 | BUS28 345.00 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 195.1848 | 0 | 0 | -24.778 | 0 | 0 | Off | 0
29 | BUS29 345.00 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 269.0851 | 0 | 0 | -24.234 | 0 | 0 | Off | 0
31 | BUS31 22.000 | 1 |  |  |  | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 9.3686 | 0 | 0 | -4.7702 | 0 | 0 | Off | 0
39 | BUS39 345.00 | 1 |  |  |  | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1071.845 | 0 | 0 | -235.649 | 0 | 0 | Off | 0
[13 empty] | 1 | 1 | 0 | [8 empty] | Off | 0
Shunt Data
Bus Number | Bus Name | Id | Name | Term Node Num | Term Node Name | Area Num | Area Name | Zone Num | Zone Name | Code | In Service | G-Shunt (MW) | B-Shunt (Mvar) | G-Zero (MW) | B-Zero (Mvar)
4 | BUS4 345.00 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 100
5 | BUS5 345.00 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 200
1
Line Data
From Bus Number | From Bus Name | To Bus Number | To Bus Name | Id | Name | Term Node Num (From) | Term Node Name (From) | Term Node Num (To) | Term Node Name (To) | Line R (pu) | Line X (pu) | Charging B (pu) | In Service | Bypass | Metered | Line G From (pu) | Line B From (pu) | Line G To (pu) | Line B To (pu) | RATE1 (MVA) | RATE2 (MVA) | RATE3 (MVA) | Length | Owner 1 | Fraction 1 | Owner 2 | Fraction 2 | Owner 3 | Fraction 3 | Owner 4 | Fraction 4 | R-Zero (pu) | X-Zero (pu) | B-Zero (pu) | Zero Seq G From (pu) | Zero Seq B From (pu) | Zero Seq G To (pu) | Zero Seq B To (pu) | Protection Mode | MOV Rated Current (kA) | RATE4 (MVA) | RATE5 (MVA) | RATE6 (MVA) | RATE7 (MVA) | RATE8 (MVA) | RATE9 (MVA) | RATE10 (MVA) | RATE11 (MVA) | RATE12 (MVA)
1 | BUS1 345.00 | 2 | BUS2 345.00 | 1 | [5 empty] | 0.0035 | 0.0411 | 0.6987 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | BUS1 345.00 | 39 | BUS39 345.00 | 1 | [5 empty] | 0.001 | 0.025 | 0.75 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | BUS2 345.00 | 3 | BUS3 345.00 | 1 | [5 empty] | 0.0013 | 0.0151 | 0.2572 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | BUS2 345.00 | 25 | BUS25 345.00 | 1 | [5 empty] | 0.007 | 0.0086 | 0.146 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | BUS3 345.00 | 4 | BUS4 345.00 | 1 | [5 empty] | 0.0013 | 0.0213 | 0.2214 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | BUS3 345.00 | 18 | BUS18 345.00 | 1 | [5 empty] | 0.0011 | 0.0133 | 0.2138 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | BUS4 345.00 | 5 | BUS5 345.00 | 1 | [5 empty] | 0.0008 | 0.0128 | 0.1342 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | BUS4 345.00 | 14 | BUS14 345.00 | 1 | [5 empty] | 0.0008 | 0.0129 | 0.1382 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | BUS5 345.00 | 6 | BUS6 345.00 | 1 | [5 empty] | 0.0002 | 0.0026 | 0.0434 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | BUS5 345.00 | 8 | BUS8 345.00 | 1 | [5 empty] | 0.0008 | 0.0112 | 0.1476 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | BUS6 345.00 | 7 | BUS7 345.00 | 1 | [5 empty] | 0.0006 | 0.0092 | 0.113 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | BUS6 345.00 | 11 | BUS11 345.00 | 1 | [5 empty] | 0.0007 | 0.0082 | 0.1389 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | BUS7 345.00 | 8 | BUS8 345.00 | 1 | [5 empty] | 0.0004 | 0.0046 | 0.078 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | BUS8 345.00 | 9 | BUS9 345.00 | 1 | [5 empty] | 0.0023 | 0.0363 | 0.3804 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | BUS9 345.00 | 39 | BUS39 345.00 | 1 | [5 empty] | 0.001 | 0.025 | 1.2 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | BUS10 345.00 | 11 | BUS11 345.00 | 1 | [5 empty] | 0.0004 | 0.0043 | 0.0729 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | BUS10 345.00 | 13 | BUS13 345.00 | 1 | [5 empty] | 0.0004 | 0.0043 | 0.0729 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | BUS13 345.00 | 14 | BUS14 345.00 | 1 | [5 empty] | 0.0009 | 0.0101 | 0.1723 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | BUS14 345.00 | 15 | BUS15 345.00 | 1 | [5 empty] | 0.0018 | 0.0217 | 0.366 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | BUS15 345.00 | 16 | BUS16 345.00 | 1 | [5 empty] | 0.0009 | 0.0094 | 0.171 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | BUS16 345.00 | 17 | BUS17 345.00 | 1 | [5 empty] | 0.0007 | 0.0089 | 0.1342 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | BUS16 345.00 | 19 | BUS19 345.00 | 1 | [5 empty] | 0.0016 | 0.0195 | 0.304 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | BUS16 345.00 | 21 | BUS21 345.00 | 1 | [5 empty] | 0.0008 | 0.0135 | 0.2548 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | BUS16 345.00 | 24 | BUS24 345.00 | 1 | [5 empty] | 0.0003 | 0.0059 | 0.068 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | BUS17 345.00 | 18 | BUS18 345.00 | 1 | [5 empty] | 0.0007 | 0.0082 | 0.1319 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | BUS17 345.00 | 27 | BUS27 345.00 | 1 | [5 empty] | 0.0013 | 0.0173 | 0.3216 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | BUS21 345.00 | 22 | BUS22 345.00 | 1 | [5 empty] | 0.0008 | 0.014 | 0.2565 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | BUS22 345.00 | 23 | BUS23 345.00 | 1 | [5 empty] | 0.0006 | 0.0096 | 0.1846 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | BUS23 345.00 | 24 | BUS24 345.00 | 1 | [5 empty] | 0.0022 | 0.035 | 0.361 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | BUS25 345.00 | 26 | BUS26 345.00 | 1 | [5 empty] | 0.0032 | 0.0323 | 0.513 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | BUS26 345.00 | 27 | BUS27 345.00 | 1 | [5 empty] | 0.0014 | 0.0147 | 0.2396 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | BUS26 345.00 | 28 | BUS28 345.00 | 1 | [5 empty] | 0.0043 | 0.0474 | 0.7802 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | BUS26 345.00 | 29 | BUS29 345.00 | 1 | [5 empty] | 0.0057 | 0.0625 | 1.029 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | BUS28 345.00 | 29 | BUS29 345.00 | 1 | [5 empty] | 0.0014 | 0.0151 | 0.249 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 1 | 0 | 1
Two winding transformer Data
From Bus Number | From Bus Name | To Bus Number | To Bus Name | Id | Name | Term Node Num (From) | Term Node Name (From) | Term Node Num (To) | Term Node Name (To) | In Service | Metered | Winding 1 Side | Controlled Bus | Controlled Bus Side | Controlled Node Number | Controlled Bus Section | Tap Positions | Control Mode | Auto Adjust | Winding I/O Code | Impedance I/O Code | Admittance I/O Code | Specified R (pu or watts) | Specified X (pu) | RATE1 (MVA) | RATE2 (MVA) | RATE3 (MVA) | Magnetizing G (pu or watts) | Magnetizing B (pu) | Owner 1 | Fraction 1 | Owner 2 | Fraction 2 | Owner 3 | Fraction 3 | Owner 4 | Fraction 4 | Winding MVA Base | Wnd 1 Ratio (pu or kV) | Wnd 1 Nominal kV | Wnd 1 Angle (degrees) | Wnd 2 Ratio (pu or kV) | Wnd 2 Nominal kV | Rmax (pu, kV, deg) | Rmin (pu, kV, deg) | Vmax (pu, Mvar, MW) | Vmin (pu, Mvar, MW) | Wnd Connect Angle (deg) | Load Drop Comp R (pu) | Load Drop Comp X (pu) | Impedance table | R (table corrected pu or watts) | X (table corrected pu) | Vector Group | Edit Vector Group | Connection Code | Edit Connection Code | Leakage impedance I/O code | Grounding impedance I/O code | RG1 | XG1 | R01 (pu) | X01 (pu) | RG2 | XG2 | R02 (pu) | X02 (pu) | RNutrl | XNutrl | RATE4 (MVA) | RATE5 (MVA) | RATE6 (MVA) | RATE7 (MVA) | RATE8 (MVA) | RATE9 (MVA) | RATE10 (MVA) | RATE11 (MVA) | RATE12 (MVA)
2 | BUS2 345.00 | 30 | BUS30 22.000 | 1 | [5 empty] | 1 | 1 | 1 | 0 | 0 | 0 |  | 8 | None | 0 | Turns ratio (pu on bus base kV) | Zpu (system base) | Y pu (system base) | 0 | 0.0181 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 100 | 1.025 | 0 | 0 | 1 | 0 | 1.2 | 0.8 | 1.2 | 0.8 | 0 | 0 | 0 | 0 | 0 | 0.0181 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | BUS6 345.00 | 31 | BUS31 22.000 | 1 | [5 empty] | 1 | 0 | 0 | 6 | 0 | 0 | 6 | 8 | Voltage | 1 | Turns ratio (pu on bus base kV) | Zpu (system base) | Y pu (system base) | 0 | 0.025 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 100 | 0.8571 | 0 | 0 | 1 | 0 | 1.2 | 0.8 | 1.17 | 0.98 | 0 | 0 | 0 | 0 | 0 | 0.025 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | BUS10 345.00 | 32 | BUS32 22.000 | 1 | [5 empty] | 1 | 1 | 1 | 0 | 0 | 0 |  | 8 | None | 0 | Turns ratio (pu on bus base kV) | Zpu (system base) | Y pu (system base) | 0 | 0.02 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 100 | 1.07 | 0 | 0 | 1 | 0 | 1.2 | 0.8 | 1.2 | 0.8 | 0 | 0 | 0 | 0 | 0 | 0.02 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | BUS11 345.00 | 12 | BUS12 345.00 | 1 | [5 empty] | 1 | 0 | 0 | 0 | 0 | 0 |  | 8 | None | 0 | Turns ratio (pu on bus base kV) | Zpu (system base) | Y pu (system base) | 0.0016 | 0.0435 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 100 | 1.006 | 0 | 0 | 1 | 0 | 1.2 | 0.8 | 1.2 | 0.8 | 0 | 0 | 0 | 0 | 0.0016 | 0.0435 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | BUS12 345.00 | 13 | BUS13 345.00 | 1 | [5 empty] | 1 | 1 | 1 | 0 | 0 | 0 |  | 8 | None | 0 | Turns ratio (pu on bus base kV) | Zpu (system base) | Y pu (system base) | 0.0016 | 0.0435 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 100 | 1.006 | 0 | 0 | 1 | 0 | 1.2 | 0.8 | 1.2 | 0.8 | 0 | 0 | 0 | 0 | 0.0016 | 0.0435 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BUS19 345.00 | 20 | BUS20 345.00 | 1 | [5 empty] | 1 | 1 | 1 | 0 | 0 | 0 |  | 8 | None | 0 | Turns ratio (pu on bus base kV) | Zpu (system base) | Y pu (system base) | 0.0007 | 0.0138 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 100 | 1.06 | 0 | 0 | 1 | 0 | 1.2 | 0.8 | 1.2 | 0.8 | 0 | 0 | 0 | 0 | 0.0007 | 0.0138 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BUS19 345.00 | 33 | BUS33 22.000 | 1 | [5 empty] | 1 | 1 | 1 | 0 | 0 | 0 |  | 8 | None | 0 | Turns ratio (pu on bus base kV) | Zpu (system base) | Y pu (system base) | 0.0007 | 0.0142 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 100 | 1.07 | 0 | 0 | 1 | 0 | 1.2 | 0.8 | 1.2 | 0.8 | 0 | 0 | 0 | 0 | 0.0007 | 0.0142 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | BUS20 345.00 | 34 | BUS34 22.000 | 1 | [5 empty] | 1 | 1 | 1 | 0 | 0 | 0 |  | 8 | None | 0 | Turns ratio (pu on bus base kV) | Zpu (system base) | Y pu (system base) | 0.0009 | 0.018 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 100 | 1.009 | 0 | 0 | 1 | 0 | 1.2 | 0.8 | 1.2 | 0.8 | 0 | 0 | 0 | 0 | 0.0009 | 0.018 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | BUS22 345.00 | 35 | BUS35 22.000 | 1 | [5 empty] | 1 | 1 | 1 | 0 | 0 | 0 |  | 8 | None | 0 | Turns ratio (pu on bus base kV) | Zpu (system base) | Y pu (system base) | 0 | 0.0143 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 100 | 1.025 | 0 | 0 | 1 | 0 | 1.2 | 0.8 | 1.2 | 0.8 | 0 | 0 | 0 | 0 | 0 | 0.0143 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | BUS23 345.00 | 36 | BUS36 22.000 | 1 | [5 empty] | 1 | 1 | 1 | 0 | 0 | 0 |  | 8 | None | 0 | Turns ratio (pu on bus base kV) | Zpu (system base) | Y pu (system base) | 0.0005 | 0.0272 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 100 | 1 | 0 | 0 | 1 | 0 | 1.2 | 0.8 | 1.2 | 0.8 | 0 | 0 | 0 | 0 | 0.0005 | 0.0272 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | BUS25 345.00 | 37 | BUS37 22.000 | 1 | [5 empty] | 1 | 1 | 1 | 0 | 0 | 0 |  | 8 | None | 0 | Turns ratio (pu on bus base kV) | Zpu (system base) | Y pu (system base) | 0.0006 | 0.0232 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 100 | 1.025 | 0 | 0 | 1 | 0 | 1.2 | 0.8 | 1.2 | 0.8 | 0 | 0 | 0 | 0 | 0.0006 | 0.0232 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | BUS29 345.00 | 38 | BUS38 22.000 | 1 | [5 empty] | 1 | 1 | 1 | 0 | 0 | 0 |  | 8 | None | 0 | Turns ratio (pu on bus base kV) | Zpu (system base) | Y pu (system base) | 0.0008 | 0.0156 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 100 | 1.025 | 0 | 0 | 1 | 0 | 1.2 | 0.8 | 1.2 | 0.8 | 0 | 0 | 0 | 0 | 0.0008 | 0.0156 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 1 | 1 | 1

## Load Data
Bus Number | Bus Name | Pload (MW) | Qload (Mvar)
3 | BUS3 | 322 | 2.4
4 | BUS4 | 500 | 184
7 | BUS7 | 233.8 | 84
8 | BUS8 | 522 | 176
12 | BUS 12 | 7.5 | 88
15 | BUS 15 | 320 | 153
16 | BUS 16 | 329 | 32.3
18 | BUS18 | 158 | 30
20 | BUS 20 | 628 | 103
21 | BUS21 | 274 | 115
23 | BUS23 | 247.5 | 84.6
24 | BUS24 | 308.6 | -92.2
25 | BUS 25 | 224 | 47.2
26 | BUS26 | 139 | 17
27 | BUS27 | 281 | 75.5
28 | BUS 28 | 206 | 27.6
29 | BUS29 | 283.5 | 26.9
31 | BUS31 | 9.2 | 4.6
39 | BUS39 | 1104 | 250

## Line Data
From Bus | From Bus Name | To Bus Number | To Bus Name | Id | Line R (pu) | Line X (pu) | Charging B (pu) | Rate A | Rate B | Rate C | Length
1 | BUS1 | 2 | BUS2 | 1 | 0.0035 | 0.0411 | 0.6987
1 | BUS1 | 39 | BUS39 | 1 | 0.001 | 0.025 | 0.75
2 | BUS2 | 3 | BUS3 | 1 | 0.0013 | 0.0151 | 0.2572
2 | BUS2 | 25 | BUS25 | 1 | 0.007 | 0.0086 | 0.146
2 | BUS2 | 30 | BUS 30 | 1 | 0 | 0.0181 | 0
3 | BUS3 | 4 | BUS 4 | 1 | 0.0013 | 0.0213 | 0.2214
3 | BUS3 | 18 | BUS 18 | 1 | 0.0011 | 0.0133 | 0.2138
4 | BUS4 | 5 | BUS 5 | 1 | 0.0008 | 0.0128 | 0.1342
4 | BUS4 | 14 | BUS 14 | 1 | 0.0008 | 0.0129 | 0.1382
5 | BUS5 | 6 | BUS 6 | 1 | 0.0002 | 0.0026 | 0.0434
5 | BUS5 | 8 | BUS 8 | 1 | 0.0008 | 0.0112 | 0.1476
6 | BUS6 | 7 | BUS 7 | 1 | 0.0006 | 0.0092 | 0.113
6 | BUS6 | 11 | BUS 11 | 1 | 0.0007 | 0.0082 | 0.1389
6 | BUS6 | 31 | BUS 31 | 1 | 0 | 0.025 | 0
7 | BUS7 | 8 | BUS 8 | 1 | 0.0004 | 0.0046 | 0.078
8 | BUS8 | 9 | BUS 9 | 1 | 0.0023 | 0.0363 | 0.3804
9 | BUS9 | 39 | BUS39 | 1 | 0.001 | 0.025 | 1.2
10 | BUS10 | 11 | BUS11 | 1 | 0.0004 | 0.0043 | 0.0729
10 | BUS10 | 13 | BUS 13 | 1 | 0.0004 | 0.0043 | 0.0729
10 | BUS10 | 32 | BUS 32 | 1 | 0 | 0.02 | 0
12 | BUS12 | 11 | BUS 11 | 1 | 0.0016 | 0.0435 | 0
12 | BUS12 | 13 | BUS 13 | 1 | 0.0016 | 0.0435 | 0
13 | BUS13 | 14 | BUS 14 | 1 | 0.0009 | 0.0101 | 0.1723
14 | BUS14 | 15 | BUS 15 | 1 | 0.0018 | 0.0217 | 0.366
15 | BUS15 | 16 | BUS 16 | 1 | 0.0009 | 0.0094 | 0.171
16 | BUS16 | 17 | BUS 17 | 1 | 0.0007 | 0.0089 | 0.1342
16 | BUS16 | 19 | BUS 19 | 1 | 0.0016 | 0.0195 | 0.304
16 | BUS16 | 21 | BUS 21 | 1 | 0.0008 | 0.0135 | 0.2548
16 | BUS16 | 24 | BUS 24 | 1 | 0.0003 | 0.0059 | 0.068
17 | BUS17 | 18 | BUS 18 | 1 | 0.0007 | 0.0082 | 0.1319
17 | BUS17 | 27 | BUS 27 | 1 | 0.0013 | 0.0173 | 0.3216
19 | BUS19 | 20 | BUS 20 | 1 | 0.0007 | 0.0138 | 0
19 | BUS19 | 33 | BUS 33 | 1 | 0.0007 | 0.0142 | 0
20 | BUS20 | 34 | BUS 34 | 1 | 0.0009 | 0.018 | 0
21 | BUS21 | 22 | BUS 22 | 1 | 0.0008 | 0.014 | 0.2565
22 | BUS22 | 23 | BUS 23 | 1 | 0.0006 | 0.0096 | 0.1846
22 | BUS22 | 35 | BUS 35 | 1 | 0 | 0.0143 | 0
23 | BUS23 | 24 | BUS 24 | 1 | 0.0022 | 0.035 | 0.361
23 | BUS23 | 36 | BUS 36 | 1 | 0.0005 | 0.0272 | 0
25 | BUS25 | 26 | BUS 26 | 1 | 0.0032 | 0.0323 | 0.531
25 | BUS25 | 37 | BUS 37 | 1 | 0.0006 | 0.0232 | 0
26 | BUS26 | 27 | BUS 27 | 1 | 0.0014 | 0.0147 | 0.2396
26 | BUS26 | 28 | BUS 28 | 1 | 0.0043 | 0.0474 | 0.7802
26 | BUS26 | 29 | BUS 29 | 1 | 0.0057 | 0.0625 | 1.029
28 | BUS28 | 29 | BUS 29 | 1 | 0.0014 | 0.0151 | 0.249
29 | BUS29 | 38 | BUS 38 | 1 | 0.0008 | 0.0156 | 0

## Transformer Tap
From Bus Number | From Bus Name | To Bus Number | To Bus Name | Specified X (pu) | Magnitude | Angle
12 | BUS12 | 11 | BUS11 |  | 1.006
12 | BUS12 | 13 | BUS13 |  | 1.006
2 | BUS2 | 30 | BUS30 |  | 1.025
6 | BUS6 | 31 | BUS31 |  | 1.07
10 | BUS10 | 32 | BUS32 |  | 1.07
19 | BUS19 | 33 | BUS33 |  | 1.07
19 | BUS19 | 20 | BUS20 |  | 1.06
20 | BUS20 | 34 | BUS34 |  | 1.009
22 | BUS22 | 35 | BUS35 |  | 1.025
23 | BUS23 | 36 | BUS36 |  | 1
25 | BUS25 | 37 | BUS37 |  | 1.025
29 | BUS29 | 38 | BUS38 |  | 1.025